## Slide 1: Flood resilience
Max Tant, Flood and Water Manager

## Slide 2: Contents
Flood risk
Resilient design
Property flood resilience
Managing floods

## Slide 3: Flood risk
Understand your flood risk
Different sources of flood risk:
  Coastal
  Fluvial
  Surface Water
  Groundwater
  Sewer
Flood maps give an assessment of some of these
  https://www.gov.uk/check-long-term-flood-risk
Flood history is also useful

## Slide 4: Resilient design
The best way to avoid flooding is to design for it
NPPF sets out planning requirements for flooding
Understand flood risk at the outset of design process
  It is very hard to effectively retrofit flood resilience into a development
  Housing and infrastructure should avoid flood risk areas
New developments should include sustainable drainage

## Slide 5: Retrospective resilience
Flood risk protection measures can be applied retrospectively
These are less optimal than resilient design
Depending on the source of risk, steps to minimise risk can be taken:
  Consider drainage layout
  Capacity of drainage infrastructure
  Intercept/redirect flood water

## Slide 6: Property flood resilience
Preventing damage in a flood
This can include stopping flood waters at the property threshold or making the property resilient to the effects of flood water
Property flood protection retrofits barriers to eternal entry points
The type of features may depend on the flood risk, source, and property uses
Measures may require deployment, must consider:
  Ability
  Training
  Access
  Availability
These require regular maintenance
These have limitations:
  What happens when they are deployed?
  Do you get warnings?
  Can you deploy them?
  How do you access the property when they are deployed?
  Regular maintenace

## Slide 7: Managing floods
If you are at risk of flooding be prepared
https://www.gov.uk/government/publications/preparing-your-business-for-flooding
Write a flood plan and practice it
Make sure occupants, tenants etc are aware of the risks and the flood plan

## Slide 8: Questions